ARCHITECTURAL GUIDE SPECIFICATION

MasterFormat Section 096600 –Terrazzo Flooring

(Subsection 096623 – Resinous Matrix Terrazzo Flooring)

# KEY EPOXY TERRAZZO

# 3/8" NOMINAL THICKNESS

Note to Specifier: This guide specification has options or notes bordered with brackets or parentheses that require editing.  Please consult with Key Resin to confirm which options or notes may be necessary for your specific project.

# PART 1  GENERAL

## SUMMARY

### Section Includes:

- Poured in place resinous matrix epoxy terrazzo flooring.

- Poured in place integral formed terrazzo wall base. [Pre-cast terrazzo wall base units.]

- [Pre-cast terrazzo tread units] [Pre-cast terrazzo tread & riser units]

- Joint, edge, and termination strips.

3.	Prior to installation of structural floor slab, advise [General Contractor] [Construction Manager], in writing, of all requirements of concrete substrate regarding finish, level tolerance, curing and below substrate vapor barrier; see inspection in Part 3.

4.	Locate all flexible joints required. See submittals below.

- Accessories necessary for complete installation.

- Backing for Epoxy Terrazzo base must be a cement board or exterior grade plywood, concrete block, concrete or cement plaster.

- Sufficient water, temporary heat and light, and adequate electric power with suitable outlets connected and distributed for use within 100 feet of any working space.

Note:  Ambient temperature shall be maintained as per manufacturer recommendations, minimum 60 degrees Fahrenheit.

### B.	Related Sections:

1.	Cast-in-Place Concrete:  Section 03300.

a.   Concrete sub-floor to be level (maximum variation not to exceed ¼ inch in 10 feet) and to have a steel trowel finished surface.  No curing agents or other additives which could prevent bonding should be used.

b.    The slab should have an efficient moisture barrier placed directly under the concrete slab when placed directly on grade.  Saw cutting of control joints must be done between 12-24 hours after placement of the structural concrete.

2.	Sealants:  Section 07920.

3.	Gypsum Drywall:  Section 09250.

- Adjacent floor finishes:  Division 9.

- Shotblast or rough grind area to receive Terrazzo according to manufacturer’s recommendations.

## 1.02 	QUALITY ASSURANCE

### A.	Acceptable Suppliers:

- Suppliers shall provide materials in accordance with NTMA standards.

- Materials used in the floor surfacing shall be the products of a single manufacturer.

### B.	Acceptable Installers:

1.	Acceptable installer shall be a contractor member of the NTMA and perform all work in accordance with NTMA standards.

2.	If installer is not a contractor member of the NTMA, he shall submit a list of 5 completed projects of similar magnitude and complexity.

3.	Installer must be acceptable to Key Resin Company.

4.	Installation shall be performed by an applicator with minimum 3 years experience in work of similar nature and scope.  Installer must be approved by the manufacturer of the floor surfacing materials.  The contractor shall furnish a written statement from the manufacturer that the installer is acceptable.

5.	Installer to verify locations of all flexible joints required by the provisions of this Section and by the recommendations of the related material manufacturers.

a.	Joint locations may or may not be shown in drawings.

b.	Refer to drawings required under submittals above.

6.	Contractor to have proven experience with specified system.

7.	Mock-up:  Prior to starting application of flooring, provide full scale portable mock-up to establish acceptable quality, durability, and appearance.  Mock-up size must not be less than 4 square feet.

a.	Acceptable mock-up to be standard of quality for installed work.

b.	Unacceptable installed work to be removed and replaced or refinished until acceptable.

## 1.03 SUBMITTALS

### Samples:

- Submit maximum of three samples, 6 inches by 6 inches for each color and type of terrazzo as specified.

- Submit two 6-inch lengths of each type and kind of divider strips as specified.

3.	Manufacturers Application Instructions:  Submit descriptive data and specific recommendations for mixing, application, curing including any precautions of special handling instructions required to comply with the Occupational Safety and Health Act.

4.	Shop Drawings:  Shop Drawings shall be furnished showing installation of cove base and termination details, and details at floor material transitions and where adjoining equipment.

1.	Locate and provide detailing for flexible joints required for flooring in area of installation.

5.	LEED Submittals

      - Product Data for Credit MR 4.1: Indicating percentages by weight of post-industrial and pre-consumer/post-consumer recycled content.

        - Include statement that indicates cost for each product having recycled content.

      - Product Data for Credit MR 5.1: For products manufactured within a 500-mile radius of the project.

      - Product Data for Credit EQ 4.1/4.2/4.3: Indicate VOC content and chemical components of resin components.

      - Product Data for Credit MR 6: Indicate percentage by weight of rapidly renewable content.

      - Product Data for Credit IEQ 3.2: Products must meet the requirements of “LEED for Schools for Indoor Air Quality, based on California Section 01350 testing”.  Also referred to as “Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers”.

### B.	Maintenance Literature:

1.	Submit two copies of NTMA and/or manufacturer's maintenance recommendations.

### C.	Certification:

1.	Suppliers shall furnish certification attesting that materials meet specification requirements.

2.	Suppliers shall furnish properly labeled material and Material Safety Data Sheets which comply to current state and federal requirements.

3.	Suppliers shall submit certification that installer is an approved applicator of material selected.

## 1.04 DELIVERY, STORAGE AND HANDLING

### All materials shall be delivered to project site in original manufacturer's sealed containers including type of material, batch numbers, date of manufacture, and pertinent labels intact and legible.

### B.	Store materials in dry protected area at a temperature between 60° F to 80° F.

### C.	Follow all manufacturer's specific instructions and prudent safety practices for storage and handling.

## 1.05 GUARANTEE

One year from date of completion of terrazzo installation.

## 1.06 PROJECT CONDITIONS

### A.	Maintain the ambient room and floor temperature at 60 degrees Fahrenheit, or above for a period extending from 72 hours before, during and after floor installation.  Concrete to receive surfacing shall have cured  for at least 28 days and be free of all curing compounds.

### B.	Pre-job meeting between General Contractor, Architect, and installer shall be held to discuss concrete substrate, location of joints and/or saw cuts to minimize subfloor cracking and locations of control joints and strips in terrazzo surface.

### C.	Acceptable Substrates

1.	Level tolerance:  Concrete subfloor shall be level with a maximum variation from level of 1/4" in 10 feet.  Any irregularity of the surface requiring patching and/or leveling shall be done using material approved by the manufacturer.

2.	Concrete floor shall receive a light steel trowel finish.

3.	Concrete shall be cured a minimum of 28 days.  No curing agents are to be used in areas to receive terrazzo.

4.	Concrete slab shall have an efficient puncture-resistant, reinforced moisture vapor barrier 10 mils thick minimum placed directly under the concrete slab (for slab on grade).  Do not use vapor barrier manufactured with recycled material.  Testing must be done to verify that the moisture vapor emission rate of the slab does not exceed that as recommended by the manufacturer at time of installation of the flooring or at any future date.  Moisture vapor emission and moisture content testing must conform with the requirements of ASTM F-1869 (Calcium Chloride Test) and ASTM F-2170 (Relative Humidity Probe Test).  If test results show excessive levels of moisture content or vapor emission rate, apply manufacturer’s recommended moisture vapor emission control material based upon the highest test reading.

5.	Saw cutting of control joints must be done between 12 and 24 hours after placement of the structural concrete.

# PART 2 - PRODUCTS

## 2.01 MANUFACTURERS

### A.	Specifications based on Key Resin Company, Key Epoxy Terrazzo.

### B.	Provide conforming products based on:

1.	Key Resin Company: Key Epoxy Terrazzo.

Key Resin is considered the approved quality standard for this job.  Any other material bid for this section must have as a minimum the standards set forth in this specification and must be preapproved in accordance with project requirements.

## 2.02 MATERIALS

### A.	Primer:   Only as recommended by the manufacturer.

### B.	Epoxy resin binder mixed according to manufacturer's recommendation and tested without aggregate added.  All specimens cured for 7 days at 75 degrees plus or minus 2 degrees Fahrenheit and 50% plus or minus 2% R.H.  The product shall meet the following requirements:

| Property | Test Method | Requirement |
| --- | --- | --- |
| Hardness | ASTM D-2240 using Shore D Durometer | 60-85 |
| Tensile Strength | ASTM D-412 Specimen made using “C” die | 3,000 psi Minimum |
| Compressive Strength | ASTM D-695 Specimen “B” cylinder | 10,000 psi Minimum |
| Chemical Resistance | ASTM D-1308 seven days at room temperature by immersion method | No deleterious effects: Distilled Water Mineral Oil Isopropanol Ethanol 0.025 Detergent Solution 1% Soap Solution 10% Sodium Hydroxide 10% Hydrochloric Acid 30% Sulfuric Acid |

1. Epoxy Resin mixed according to manufacturers recommendations and blended with 3 volumes of Georgia White marble blended 60% #1 chip and 40% #0 chip, ground and grouted with epoxy resin according to 3.02 C-2.  All specimens cured 7 days at 75 degrees plus or minus 2 degrees Fahrenheit and 50% plus or minus R.H.  The finished epoxy terrazzo shall meet the following requirements:

| Property | Test Method | Requirement |
| --- | --- | --- |
| Flammability | ASTM D-635 | Self-extinguishing, extent of burning .025 inches maximum. |
| Thermal Coefficient of Linear Expansion | ASTM-D-696 | 25 x 10-6 inches per inch per degree to 140 degrees Fahrenheit |
| Bond Strength | ACI Committee No. 403/503 Bulletin Title No.59-43 (Pages 1139-1141) | 100% concrete failure minimum, with 300 PSI minimum tensile strength. |

Note:  This test is intended to evaluate the bond to the concrete subfloor and is to be tested at the discretion of the architect.  A 100% concrete failure indicates a good bond.

### C.	Marble Chips or Glass Aggregate:

1.	Size:  To conform with NTMA gradation standards.

Note:  See product information.

2.	Hardness according to ASTM C-24l Ha-10 minimum.

Note: This test indicates the abrasion resistance of marble chips.

3.	24 hours absorption rate not to exceed 0.75 percent.

4.	Chips shall contain no deleterious or foreign matter.

5.	Dust content less than 1% by weight.

### D.	Strips:

1.	Stop and divider "L" strips: ______________ gauge. [Select gauge, white alloy of zinc, aluminum or plastic.  Consult with manufacturer of epoxy resin if brass strips are desired.]

Note:  SELECT GAUGE FROM FOLLOWING Gauge: 18, 16 or 14 B & S gauge or l/8, l/4, or 3/8 inch heavy top "L" or "K" type.  2. Construction joint double "L" strips (do not use neoprene joint filler material), back to back... 16 gauge white alloy of zinc or aluminum material.

### E.	Terrazzo Cleaner:

1.	pH factor between 7 and 10 where applicable.

2.	Biodegradable and phosphate free.

### F.	Sealer:

(Note: Key Epoxy Terrazzo floors should be sealed with an acrylic or urethane terrazzo sealer or other suitable finish system.  Caution: Some finish systems require unsealed terrazzo for proper installation, to function as designed and to achieve the desired aesthetic effect, consult with Manufacturer of the finish system for requirements.  Any sealer or finish system not supplied by Key Resin should be properly tested with a mock-up before use.  Silicate based densifiers in particular should be carefully tested, as they react only with marble chips and will result in a higher degree of polish of the marble chips versus the epoxy matrix, possibly causing a mottled effect.)

1.	pH factor between 7 and 10, where applicable.

2.	Shall not discolor or amber.

3.	Flash Point: ASTM D-56, 80 degrees Fahrenheit minimum, where applicable.

4.	Special stain and/or chemical resistant sealers are needed for certain areas such as resistance to iodine or Betadine.

## 2.03 MIXES

### A.	Terrazzo Selection:

(Note to Specifier: Choose option #1 or #2 below)

1.	NTMA Plate {______________________________}.

Note:  Select color and design from NTMA Terrazzo Information Guide or Color Palette. Any deviation from NTMA plates must be clearly stipulated.

2.	Key Resin Sample {_________________________}.

### B.	Proportions:

1.	Epoxy Terrazzo Topping:  In accordance with resin supplier's recommendations.

### C.	Mixing:

1.	Terrazzo Topping:  Charge and mix marble chips and epoxy resin in accordance with supplier's instructions.

# PART 3 EXECUTION

## 3.01 INSPECTION

### A.	Examine areas to receive terrazzo for:

1.	Defects in existing work that affect proper execution of terrazzo work.

Note:  Cracks in substrate will usually be transmitted through topping to surface. Flexible membrane over cracks shall be used to minimize chance of subfloor cracks transferring to the terrazzo surface.

2.	Deviations beyond allowable tolerances for the concrete slab work.

Note:  Subfloor not to vary more that 1/4 inch from true plane in 10 feet.  Epoxy thin-set terrazzo, as specified, is not intended to level substrate and will only follow the contour of the concrete slab.  If for any reason the subcontractor questions the suitability of the substrate, any work required to eliminate nonconformity of subsurface specifications is the responsibility of others.  Any materials used to correct nonconformity must be compatible with terrazzo system selected and be approved by the terrazzo material manufacturer.

### B.	Proceed with installation only when all defects have been corrected.

## 3.02 INSTALLATION

### A.	Subfloor:

1.	Prepare substrate to receive epoxy terrazzo in accordance with manufacturer's recommendations.

2.	Substrate Crack Repair: Hairline cracks less than 1/16” width may be filled with neat epoxy resin, Key #502 or Key #730.  Treat cracks larger than 1/16” width as recommended in NTMA Technical Bulletin #111 “Crack Detailing and Joint Treatments for Thin Set Terrazzo”, Detail #6.  Route out all cracks larger than 1/16” width and fill with rigid epoxy.  Apply Key #580 Flexible Epoxy across the crack a minimum width of 24 inches at a spread rate of 40-50 square feet per gallon to achieve 32-40 mils dry film thickness over the crack and allow to cure.  Optional reinforcement: Apply Key #502 Primer to cured membrane.  Imbed fiberglass scrim cloth into wet primer and saturate with additional Key #502 Primer.  Alternatively, scrim cloth may be gently placed onto surface of tacky Key #580 without pressing down into resin.  Allow to cure.  Saturate cloth during priming step as outlined in section 3.02.B.1.

a. Alternate to Step #2: If cracks are too numerous to treat individually, apply Key #580 Flexible Epoxy over entire floor surface as a crack isolation membrane following procedure outlined in step #2.  Refer also to NTMA Technical Bulletin #111 “Crack Detailing and Joint Treatments for Thin Set Terrazzo”, Detail #5.

- Install divider strips over all concrete joints as recommended in NTMA Technical Bulletin #111 “Crack Detailing and Joint Treatments for Thin Set Terrazzo”, Details #1-#7. Divider strips must be bonded to joint edges for contraction joints (aka control joints/sawcuts) and isolation joints (aka expansion joints) in subfloor.  For contraction joints, refer to Details #1-#3.  For Isolation joints, refer to Detail #4.  For Construction joints (aka cold joints), refer to Detail #7.  For exposed contraction joints, fill with Key #780 Epoxy Joint Filler.  Fill isolation joints with urethane sealant formulated for use in floor expansion joints supplied by others.  Do not use prefabricated double divider strips filled with neoprene.

4.	Install divider strips as shown on drawings.

### B.	Placing Terrazzo:

1.	Prime subfloor in accordance with resin supplier's instructions.  If required, install moisture vapor control material before other terrazzo system materials.

2.	Place terrazzo mixture and trowel to a dense flat surface to top of divider strips.

### C.	Finishing:

1.	Rough Grinding:

a.	Grind with 24 or finer grit stones or with comparable diamond plates.

b.	Follow initial grind with 80 or finer grit stones or with comparable diamond plates.

2.	Grouting:

a.	Cleanse floor with clean water and rinse.

b.	Remove excess rinse water, dry, and apply epoxy grout, supplied by epoxy manufacturer, to fill voids.

3.	Cure Grout.

Note:  Grout may be left on terrazzo until all heavy and messy work in project is completed.

4.	Fine Grinding:

a.	Grind with 80 or finer grit stones or with comparable diamond plates until all grout is removed from surface.  Certain matrix colors and aggregates may require grinding to a level higher than 120 grit for acceptable appearance.

b.	Upon completion, terrazzo shall reasonably match approved samples with overall uniform chip density.

### D.	Cleaning and Sealing:

1.	Wash all surfaces with a neutral cleaner.

2.	Rinse with clean water and allow surface to dry.

3.	Apply sealer in accordance with manufacturer's directions. For ADA slip resistance requirement, use UL approved sealer supplied by others as necessary.

(Note: Delete sealer step if substituting alternative maintenance finish system that requires installation over unsealed epoxy terrazzo)

### E.	Protection:

1.	Upon completion, the work shall be ready for final inspection and acceptance by the owner or his agent.

2.	The General Contractor shall protect the finished floor from the time that the terrazzo contractor completes the work.

## END OF SECTION 096600/096623